## Slide 1: cereal grain Data Acquisition device
24-bit Load Cell Interface X3
USB 2.0 Embedded Host Interface
  Supports flash drives & barcode scanner
Rotary/Linear Encoder Interface
  Configurable for 3.3V/5V
Ultrasonic Ranging Module Interface
Embedded Temperature and Humidity Sensor
Embedded Accelerometer
  Provides tilt/angle of unit
uSD Card Interface
Embedded Graphic Processing Unit
  Creates GUI on 800x480 7” TFT LCD
  Supports resistive touchscreen
GNSS Receiver w/ Onboard Antenna
  Provides time, date, and location data
microUSB Power Port
Onboard stepper motor driver
Onboard DC motor driver
Peripheral Header for Daughter Module
Project SCOPE
Wind-induced crop failure results in economic losses totaling tens of billions of dollars each year. A data acquisition computing platform has been designed that will enable researchers to understand this issue and breed more resilient crop varieties. The device features custom electronics hardware and embedded firmware, with an emphasis on design for manufacturability and reliability.
Assembly rendering
Technical specifications
Design outcomes
Reduced BOM cost from $600 -> $150
Reduced assembly time from ~20hours to 1 hour
Improved battery life
Reduced weight
Improved data quality/resolution/accuracy
Added features
Self-calibration
Custom/simplified code base
Improved user ease-of-use/GUI
Improved device reliability/quality control
  Meets IECE 61400-4 ESD Standards
  Eliminated all mechanical user IO
aCKNOWLEDGEMENTS
Specification | Past Design | Current Design
Future directions
Impact of design
Acknowledgements